ZK Access Control C05

| RF reader | 125 KHz ID Card |
| --- | --- |
| Card Reading Distance | 10-15 cm |
| Display | 4 lines, 16 characters each line(User name, ID number, time, date, states) Graphic Display LCD |
| LED indicator/Buzzer | 2 LED(Red/Green) / 1 Buzzer |
| Display Language | Standard: English Upon Request: Multinational Language |
| Audio Visual Indicator | Red LED(Access denied)/Green LED(Access granted)with Audible Beep |
| Keypad | 4*4 metal keypad with 4 function keys |
| Dimension | 159×92×40mm |
| Hardware | ZEM 500(Embedded Linux O/S) |
| Access Mode | Card Only, PIN Only, Card + PIN |
| Card Holders | 30,000 |
| Transaction | 50,000 |
| Communications | RS232/485, TCP/IP, USB Host |
| Weigand | 26 bits Input / Output |
| Baud Rate | 9600-115kbps programmable |
| Ethernet | 10/100M |
| Access Control Function | 50time zones ,5groups,10open door combination, supports multi-users enter.TTL for connecting to lock, door sensor, exit button, alarm |
| Power Consumption | DC 12V |
| Temperature | 0 ~ 45 degree c |
| Humidity | 20% ~ 80% |
| Standards Compliance | CE, FCC |
| More Standard Function | SMS, Multi-verification |

Mfgs Office -                                                                                                  Indian sales & service –

ZK Software (USA) Inc.                                                                                                                            Dynamic Business Solution

Address:                                                                                                                                                 Adress-
505 8th Ave., Suite 1004                                                                                                                           K-37/1 Krishna Park Extension,
New York, NY 10018                                                                                                                                  Street no -13, Tilaknagar,
United States                                                                                                                                            New Delhi - 18

| Phone: +1 212-991-0090 | Phone: +9136533300/01/02 |
| --- | --- |
| Fax: +1 212-268-4858 |  |
| Website: www.zk-usa.com | Website: www.dbsindia.in |